## Maths
[20 empty] | Avg Power [MW] | 0.0016 | 0.01 | 1
[20 empty] | DC:AC | 1.1 | 1.2 | 1.3
year | Ga in Chip | unit | Source1 | Notes1 | Chips per inverter [#/inverter type] | # of Phases | Voltages [V] | Power Rating [MW] | Inverter Description | SELECTED AS REPRESENTATIVE DESIGN | Source2 | Notes2 | GaN market share | unit | Source | Notes (vs Si or SiC) | Micro [g/inverter] | String [g/inverter] | Utility [g/inverter] |  | Micro [kg/MWac] | String [kg/MWac] | Utility [kg/MWac] | Microinverter Market Share (% by units) | String Inverter Market Share (% by units) | Central Inverter Market Share (% by units) | Marketshare Avg Ga for inverters [kg/MWac]
1990
1991
1992
1993
1994
1995 | [23 empty] | 74.24% | 25.27% | 0.485%
1996 | [23 empty] | 74.24% | 25.27% | 0.485%
1997 | [23 empty] | 74.24% | 25.27% | 0.485%
1998 | [23 empty] | 74.24% | 25.27% | 0.485%
1999 | [23 empty] | 74.24% | 25.27% | 0.485%
2000 | [23 empty] | 74.24% | 25.27% | 0.485%
2001 | [23 empty] | 74.24% | 25.27% | 0.485%
2002 | [23 empty] | 74.24% | 25.27% | 0.485%
2003 | [23 empty] | 74.24% | 25.27% | 0.485%
2004 | [23 empty] | 74.24% | 25.27% | 0.485%
2005 | [23 empty] | 74.24% | 25.27% | 0.485%
2006 | [23 empty] | 74.24% | 25.27% | 0.485%
2007 | [23 empty] | 74.24% | 25.27% | 0.485%
2008 | [23 empty] | 74.24% | 25.27% | 0.485%
2009 | [23 empty] | 74.24% | 25.27% | 0.485%
2010 | [23 empty] | 74.24% | 25.27% | 0.485%
2011 | [23 empty] | 74.24% | 25.27% | 0.485%
2012 | [23 empty] | 74.24% | 25.27% | 0.485%
2013 | [23 empty] | 74.24% | 25.27% | 0.485%
2014 |  |  |  |  | *Heather will go back and inventory all the GaN TI ref designs adding # of phases and Voltage | [18 empty] | 74.24% | 25.27% | 0.485%
2015 | 5.12 | g/cm^3 | Han, Zhongkui, Qiance Liu, Xin Ouyang, Huiling Song, Tianming Gao, Yanfei Liu, Bojie Wen, and Tao Dai. 2024. “Tracking Two Decades of Global Gallium Stocks and Flows: A Dynamic Material Flow Analysis.” Resources, Conservation and Recycling 202 (March):107391. https://doi.org/10.1016/j.resconrec.2023.107391. | Table S3, from Lovik 2016 * thickness of chip | [19 empty] | 74.24% | 25.27% | 0.485%
2016 | 0.0001 | m thickness of chip | Han, Zhongkui, Qiance Liu, Xin Ouyang, Huiling Song, Tianming Gao, Yanfei Liu, Bojie Wen, and Tao Dai. 2024. “Tracking Two Decades of Global Gallium Stocks and Flows: A Dynamic Material Flow Analysis.” Resources, Conservation and Recycling 202 (March):107391. https://doi.org/10.1016/j.resconrec.2023.107391. | Table S3, from Lovik 2016 * thickness of chip * lots of losses | [19 empty] | 75.28% | 24.14% | 0.5759%
2017 | [12 empty] | % GaN HEMT in PV application market | [10 empty] | 76.35% | 23.36% | 0.2871%
2018 | [12 empty] | 0.003181% | % | Yole 2023 slide 72-3 | see yole 2023 sheet | 1.0751e-08 | 6.4509e-09 | 1.9353e-08 |  | 6.7197e-09 | 6.4509e-10 | 1.9353e-11 | 77.75% | 21.98% | 0.2776% | 5.3661e-09
2019 | [12 empty] | 0.003043% | % | Yole 2023 slide 72-3 | see yole 2023 sheet | 1.0287e-08 | 6.1721e-09 | 1.8516e-08 |  | 6.4293e-09 | 6.1721e-10 | 1.8516e-11 | 81.36% | 18.27% | 0.3734% | 5.3434e-09
2020 | [12 empty] | 0.005419% | % | Yole 2023 slide 72-3 | see yole 2023 sheet | 1.8317e-08 | 1.099e-08 | 3.2971e-08 |  | 1.1448e-08 | 1.099e-09 | 3.2971e-11 | 81.31% | 17.97% | 0.7136% | 9.5066e-09
2021 |  |  |  |  | 0 |  |  |  | Table S7 says no integrated circuits go to PV applications?? |  | Han, Zhongkui, Qiance Liu, Xin Ouyang, Huiling Song, Tianming Gao, Yanfei Liu, Bojie Wen, and Tao Dai. 2024. “Tracking Two Decades of Global Gallium Stocks and Flows: A Dynamic Material Flow Analysis.” Resources, Conservation and Recycling 202 (March):107391. https://doi.org/10.1016/j.resconrec.2023.107391. |  | 0.008058% | % | Yole 2023 slide 72-3 | see yole 2023 sheet | 2.7236e-08 | 1.6342e-08 | 4.9025e-08 |  | 1.7023e-08 | 1.6342e-09 | 4.9025e-11 | 87.1% | 12.52% | 0.3807% | 1.5032e-08
2022 |  |  |  |  | 6 | 1 | 500 V | 0.01 | GaN FET/ 10 kW single phase with Battery | STRING | TI reference design 010938 |  | 0.01955% | % | Yole 2023 slide 72-3 | see yole 2023 sheet | 6.6089e-08 | 3.9654e-08 | 1.1896e-07 |  | 4.1306e-08 | 3.9654e-09 | 1.1896e-10 | 89.14% | 10.52% | 0.3434% | 3.7236e-08
2023 |  |  |  |  | 10 | 1 | 60 Vdc, 240 Vac | 0.0016 | GaN FET/ 1.6kW microinverter | MICRO | TI reference design 010933 |  | 0.03369% | % | Yole 2023 slide 72-3 | see yole 2023 sheet | 1.1388e-07 | 6.8325e-08 | 2.0498e-07 |  | 7.1172e-08 | 6.8325e-09 | 2.0498e-10 | 85.67% | 13.37% | 0.9594% | 6.1888e-08
2024 | 0.0338 | [mg/FET] | EPC GaN chips data sheets, avg'd, calculated for molar mass of Ga in GaN | see google sheet for avg calc | 6 | 3 | 600, 800, 1000 V | 1 | GaN FET/ 3 Phase, 600,800,1000V inverter | UTILITY | TI reference design | Silvana counted 6 in the circuit diagram | 0.04811% | % | Yole 2023 slide 72-3 | see yole 2023 sheet | 1.6263e-07 | 9.7577e-08 | 2.9273e-07 |  | 1.0164e-07 | 9.7577e-09 | 2.9273e-10 | 85.67% | 13.37% | 0.9594% | 8.8384e-08
2025 | 3.38e-05 | [g/FET] |  |  |  | 1 | 80 V | 0.0006 | 600W solar power optimizer reference design based on GaN with wired and wireless communication |  | TI reference design 010949 | https://www.ti.com/tool/TIDA-010949 | 0.06572% | % | Yole 2023 slide 72-3 | see yole 2023 sheet | 2.2212e-07 | 1.3327e-07 | 3.9981e-07 |  | 1.3882e-07 | 1.3327e-08 | 3.9981e-10 | 85.67% | 13.37% | 0.9594% | 1.2071e-07
2026 | [12 empty] | 0.09185% | % | Yole 2023 slide 72-3 | see yole 2023 sheet | 3.1044e-07 | 1.8626e-07 | 5.5879e-07 |  | 1.9403e-07 | 1.8626e-08 | 5.5879e-10 | 85.67% | 13.37% | 0.9594% | 1.6872e-07
2027 | [12 empty] | 0.1028% | % | Yole 2023 slide 72-3 | see yole 2023 sheet | 3.4757e-07 | 2.0854e-07 | 6.2562e-07 |  | 2.1723e-07 | 2.0854e-08 | 6.2562e-10 | 85.67% | 13.37% | 0.9594% | 1.8889e-07
2028 | [12 empty] | 0.1183% | % | Yole 2023 slide 72-3 | see yole 2023 sheet | 3.999e-07 | 2.3994e-07 | 7.1982e-07 |  | 2.4994e-07 | 2.3994e-08 | 7.1982e-10 | 85.67% | 13.37% | 0.9594% | 2.1734e-07
2029 | [23 empty] | 85.67% | 13.37% | 0.9594%
2030 | [23 empty] | 85.67% | 13.37% | 0.9594%
2031 | [23 empty] | 85.67% | 13.37% | 0.9594%
2032 | [23 empty] | 85.67% | 13.37% | 0.9594%
2033 | [23 empty] | 85.67% | 13.37% | 0.9594%
2034 | [23 empty] | 85.67% | 13.37% | 0.9594%
2035 | [23 empty] | 85.67% | 13.37% | 0.9594%
2036 | [23 empty] | 85.67% | 13.37% | 0.9594%
2037 | [23 empty] | 85.67% | 13.37% | 0.9594%
2038 | [23 empty] | 85.67% | 13.37% | 0.9594%
2039 | [23 empty] | 85.67% | 13.37% | 0.9594%
2040 | [23 empty] | 85.67% | 13.37% | 0.9594%
2041 | [23 empty] | 85.67% | 13.37% | 0.9594%
2042 | [23 empty] | 85.67% | 13.37% | 0.9594%
2043 | [23 empty] | 85.67% | 13.37% | 0.9594%
2044 | [23 empty] | 85.67% | 13.37% | 0.9594%
2045 | [23 empty] | 85.67% | 13.37% | 0.9594%
2046 | [23 empty] | 85.67% | 13.37% | 0.9594%
2047 | [23 empty] | 85.67% | 13.37% | 0.9594%
2048 | [23 empty] | 85.67% | 13.37% | 0.9594%
2049 | [23 empty] | 85.67% | 13.37% | 0.9594%
2050 | [23 empty] | 85.67% | 13.37% | 0.9594%
2051
2052
2053
2054
2055
2056
2057
2058
2059
2060
2061
2062
2063
2064
2065
2066
2067
2068
2069
2070
2071
2072
2073
2074
2075
2076
2077
2078
2079
2080
2081
2082
2083
2084
2085
2086
2087
2088
2089
2090
2091
2092
2093
2094
2095
2096
2097
2098
2099
2100

## yole2023
slide 56 | Power Electronics Market Revenue Value by material
[$M]?
| SiC | GaN | Silicon | Total Market value | SiC | GaN | Silicon | *check for a material value
2018 | 0.4 | 0 | 15.7 | 16.1 | 2.484% | 0% | 97.52%
2019 | 0.6 | 0.01 | 16.5 | 17.11 | 3.507% | 0.05845% | 96.43%
2020 | 0.7 | 0.02 | 16.5 | 17.22 | 4.065% | 0.1161% | 95.82%
2021 | 1.2 | 0.1 | 18.1 | 19.4 | 6.186% | 0.5155% | 93.3%
2022 | 1.9 | 0.1 | 19.3 | 21.3 | 8.92% | 0.4695% | 90.61%
2023 | 2.9 | 0.1 | 20 | 23 | 12.61% | 0.4348% | 86.96%
2024 | 4 | 0.2 | 21 | 25.2 | 15.87% | 0.7937% | 83.33%
2025 | 5.2 | 0.3 | 22 | 27.5 | 18.91% | 1.091% | 80%
2026 | 6.4 | 0.5 | 23 | 29.9 | 21.4% | 1.672% | 76.92%
2027 | 7.8 | 0.7 | 23.7 | 32.2 | 24.22% | 2.174% | 73.6%
2028 | 9.4 | 1 | 24 | 34.4 | 27.33% | 2.907% | 69.77%
*keeps being used in power supply consumer applications
Slide 72-73 | Discrete GaN HEMT market revenue forcast by application
| [$M] |  | Total power electronics discrete market
| % GaN in PV | PV GaN HEMT | Total GaN HEMT market | PV power electronics market, all technologies | Total Market revenue, all sectors
2018 | 0.003181% | 0.4 | 4 | 170 | 12575
2019 | 0.003043% | 0.4 | 9 | 209 | 13143
2020 | 0.005419% | 0.7 | 24 | 212 | 12917
2021 | 0.008058% | 1.1 | 66 | 288 | 13651
2022 | 0.01955% | 2.8 | 93 | 409 | 14320
2023 | 0.03369% | 4.9 | 148 | 510 | 14544
2024 | 0.04811% | 7.3 | 183 | 576 | 15172
2025 | 0.06572% | 10.5 | 295 | 626 | 15978
2026 | 0.09185% | 15.5 | 482 | 675 | 16876
2027 | 0.1028% | 18.2 | 691 | 721 | 17699
2028 | 0.1183% | 21.9 | 991 | 759 | 18510

## WoodMacInverterCompany
| Mwac | [6 empty] | % (on power basis) |  |  |  | # of inverter units of each type | [6 empty] | % (on unit basis)
[11 empty] | AVG MW rating: | 0.0016 | 0.01 | 0.01 | 1 | 0.0016
| Total PV inverter shipments | Microinverter | Single-phase String | Three-phase String | Central | Hybrid |  | Microinverter | String | Central |  | Microinverter | Single-phase String | Three-phase String | Central | Hybrid | TOTAL UNITS |  | Microinverter | String | Central
2015 | 9904 | 1516 | 2120 | 1105 | 6190 | 0 |  | 15.31% | 32.56% | 62.5% |  | 947500 | 212000 | 110500 | 6190 | 0 | 1276190 |  | 74.24% | 25.27% | 0.485%
2016 | 13817 | 1923 | 1829 | 2025 | 9194 | 0 |  | 13.92% | 27.89% | 66.54% |  | 1201875 | 182900 | 202500 | 9194 | 0 | 1596469 |  | 75.28% | 24.14% | 0.5759%
2017 | 9600 | 2064 | 1664 | 2283 | 4851 | 0 |  | 21.5% | 41.11% | 50.53% |  | 1290000 | 166400 | 228300 | 4851 | 0 | 1689551 |  | 76.35% | 23.36% | 0.2871%
2018 | 11583.9526 | 2651.4249 | 1876.7812 | 2807.2974 | 5917.595 | 0 |  | 22.89% | 40.44% | 51.08% |  | 1657140.5344 | 187678.12 | 280729.74 | 5917.595 | 0 | 2131465.9894 |  | 77.75% | 21.98% | 0.2776%
2019 | 18470.21 | 3821.49 | 2277.16 | 3260.96 | 11319.04 | 124.04 |  | 21.36% | 29.98% | 61.28% |  | 2388431.25 | 227716 | 326096 | 11319.04 | 77525 | 3031087.29 |  | 81.36% | 18.27% | 0.3734%
2020 | 30854.86 | 4039.47 | 1912.89 | 3935.58 | 23221.3 | 194.08 |  | 13.72% | 18.95% | 75.26% |  | 2524668.75 | 191289 | 393558 | 23221.3 | 121300 | 3254037.05 |  | 81.31% | 17.97% | 0.7136%
2021 | 30493.7852 | 5522.466 | 1915.4572 | 4564.4751 | 19707.3794 | 1691.6102 |  | 23.66% | 21.25% | 64.63% |  | 3451541.2384 | 191545.7156 | 456447.513 | 19707.3794 | 1057256.375 | 5176498.2215 |  | 87.1% | 12.52% | 0.3807%
2022 | 45536 | 7538 | 3790 | 4978.22 | 28623 | 4348 |  | 26.1% | 19.26% | 62.86% |  | 4711250 | 379000 | 497822 | 28623 | 2717500 | 8334195 |  | 89.14% | 10.52% | 0.3434%
2023 | 48217.5421 | 3371.8142 | 470.9481 | 4769.974 | 37604.3287 | 2000.4771 |  | 11.14% | 10.87% | 77.99% |  | 2107383.8875 | 47094.8148 | 476997.3992 | 37604.3287 | 1250298.1807 | 3919378.6109 |  | 85.67% | 13.37% | 0.9594%
2024
| 2023 PV inverter shipments (MWac) | United States total PV inverter market share (% of shipped MWac) |  |  |  | US microinverter market share (% of shipped MWac) |  |  |  | US single-phase string inverter market share (% of shipped MWac) |  |  |  | US three-phase string inverter market share (% of shipped MWac) |  |  |  | US central inverter market share (% of shipped MWac) |  |  |  | US DC-coupled hybrid inverter market share (% of shipped MWac)
| Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share
| 1 | Sungrow* | 0.30394 |  | 1 | Enphase | 0.90543 |  | 1 | SolarEdge* | 0.56331 |  | 1 | Chint Power Systems | 0.31925 |  | 1 | Sungrow* | 0.36234 |  | 1 | SolarEdge* | 0.91452
| 2 | Power Electronics | 0.18852 |  | 2 | Hoymiles | 0.041521 |  | 2 | SMA | 0.11679 |  | 2 | SMA | 0.2369 |  | 2 | Power Electronics | 0.24173 |  | 2 | Growatt | 0.048863
| 3 | GE Vernova | 0.11614 |  | 3 | APsystems* | 0.030332 |  | 3 | Ginlong Solis | 0.10788 |  | 3 | Sungrow* | 0.21584 |  | 3 | GE Vernova | 0.14892 |  | 3 | GoodWe | 0.020395
| 4 | TMEIC | 0.10523 |  | 4 | NEP | 0.022718 |  | 4 | Growatt | 0.097509 |  | 4 | SolarEdge* | 0.10329 |  | 4 | TMEIC | 0.13493
| 5 | SMA | 0.07238 | [5 empty] | 5 | Fronius | 0.083075 |  | 5 | Ginlong Solis | 0.050258 |  | 5 | SMA | 0.061163
| 6 | Enphase | 0.063316 | [5 empty] | 6 | Fimer* | 0.031437 |  | 6 | Yaskawa Solectria | 0.041308 |  | 6 | Ingeteam | 0.025438
| 7 | SolarEdge | 0.053662 | [9 empty] | 7 | Fimer* | 0.028239 |  | 7 | Gamesa | 0.025263
| 8 | Chint Power Systems | 0.031582
| 9 | Ingeteam | 0.019839
| 10 | Gamesa | 0.019702
|  | All Others | 0.025686 | [18 empty] | All Others | 0.01622
| 2023 PV inverter shipments (MWac) |  | 48217.5421 |  | 2023 PV inverter shipments (MWac) |  | 3371.8142 |  | 2023 PV inverter shipments (MWac) |  | 470.9481 |  | 2023 PV inverter shipments (MWac) |  | 4769.974 |  | 2023 PV inverter shipments (MWac) |  | 37604.3287 |  | 2023 PV inverter shipments (MWac) |  | 2000.4771
| US market shares by product type shipments full-year 2022 | [7 empty] | * Estimate
| United States PV inverter market share by shipments (MWac) |  |  |  | US MLPE Market Share by shipments (MWac) |  |  |  | US Single-Phase String Market Share by shipments (MWac) |  |  |  | US Three-Phase String Market Share by shipments (MWac) |  |  |  | US Central inverter market share by shipments (MWac) |  |  |  | US Storage Hybrid Market Share by shipments (MWac)
| Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company |  | Market Share
| 1 | Sungrow | 0.20219 |  | 1 | Enphase Energy | 0.4612 |  | 1 | SolarEdge | 0.88311 |  | 1 | Chint Power Systems | 0.48445 |  | 1 | Power Electronics | 0.38058 |  | 1 | SolarEdge Technologies |  | 0.56114
| 2 | Power Electronics | 0.17788 |  | 2 | SolarEdge Technologies | 0.444 |  | 2 | Sungrow | 0.065768 |  | 2 | Sungrow | 0.33391 |  | 2 | TMEIC | 0.257 |  | 2 | Sungrow |  | 0.3176
| 3 | TMEIC | 0.14044 |  | 3 | Tigo | 0.0597 |  | 3 | SMA | 0.029486 |  | 3 | SMA | 0.12262 |  | 3 | Sungrow | 0.1472 |  | 3 | SMA |  | 0.052389
| 4 | SolarEdge Technologies | 0.12709 |  | 4 | Ampt | 0.018003 |  | 4 | Fronius | 0.01017 |  | 4 | Ginlong Solis | 0.033604 |  | 4 | General Electric | 0.1021 |  | 4 | Growatt |  | 0.040839
| 5 | General Electric | 0.098823 | [5 empty] | 5 | Ginlong Solis | 0.0076227 |  | 5 | Fimer | 0.020716 |  | 5 | SMA | 0.071039 |  | 5 | GoodWe |  | 0.025297
| 6 | Enphase Energy | 0.076343 | [13 empty] | 6 | Ingeteam | 0.04171
| 7 | SMA | 0.071982
| 8 | Chint Power Systems | 0.053212
| 9 | Ingeteam | 0.025523
|  | All Others | 0.026522 |  |  | All Others | 0.02 |  |  | All Others | 0.01
| 2022 PV inverter shipments (MWac) |  | 45536 |  | 2022 PV inverter shipments (MWac) |  | 7538 |  | 2022 PV inverter shipments (MWac) |  | 3790 |  | 2022 PV inverter shipments (MWac) |  | 4978.22 |  | 2022 PV inverter shipments (MWac) |  | 28623 |  | 2022 PV inverter shipments (MWac) |  |  | 4348
| US market shares by product type shipments full-year 2021 | [7 empty] | * Estimate
| United States PV inverter market share by shipments (MWac) |  |  |  | US MLPE Market Share by shipments (MWac) |  |  |  | US Single-Phase String Market Share by shipments (MWac) |  |  |  | US Three-Phase String Market Share by shipments (MWac) |  |  |  | US Central inverter market share by shipments (MWac) |  |  |  | US Storage Hybrid Market Share by shipments (MWac)
| Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company |  | Market Share
| Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company |  | Market Share
| 1 | Power Electronics | 0.29108 |  | 1 | SolarEdge Technologies* | 0.47656 |  | 1 | SolarEdge Technologies* | 0.86454 |  | 1 | Sungrow | 0.31343 |  | 1 | Power Electronics | 0.38058 |  | 1 | Power Electronics |  | 0.81343
| 2 | Sungrow | 0.22002 |  | 2 | Enphase Energy | 0.43442 |  | 2 | Sungrow | 0.1116 |  | 2 | Chint Power Systems | 0.28601 |  | 2 | Sungrow | 0.257 |  | 2 | SolarEdge Technologies* |  | 0.12849
| 3 | SMA | 0.12216 |  | 3 | Tigo | 0.072946 |  |  | All Others | 0.023855 |  | 3 | SolarEdge Technologies* | 0.16616 |  | 3 | SMA | 0.1472 |  | 3 | Growatt |  | 0.037538
| 4 | SolarEdge Technologies* | 0.086305 |  |  | All Others | 0.01608 | [5 empty] | 4 | SMA | 0.1527 |  | 4 | TMEIC | 0.1021 |  | 4 | GoodWe |  | 0.012592
| 5 | Enphase Energy | 0.078674 | [9 empty] | 5 | Ginlong Solis* | 0.038602 |  | 5 | General Electric | 0.071039 |  |  | All Others |  | 0.0079569
| 6 | TMEIC | 0.065983 | [9 empty] | 6 | Fimer | 0.026706 |  | 6 | Ingeteam | 0.04171
| 7 | General Electric | 0.045911 | [10 empty] | All Others | 0.0164 |  |  | All Others | 0.0004
| 8 | Chint Power Systems | 0.042818
| 9 | Ingeteam | 0.026956
|  | All Others | 0.020095
| 2021 PV inverter shipments (MWac) |  | 30493.7852 |  | 2021 PV inverter shipments (MWac) |  | 5522.466 |  | 2021 PV inverter shipments (MWac) |  | 1915.4572 |  | 2021 PV inverter shipments (MWac) |  | 4564.4751 |  | 2021 PV inverter shipments (MWac) |  | 19707.3794 |  | 2021 PV inverter shipments (MWac) |  |  | 1691.6102
| US market shares by product type shipments full-year 2020 | [7 empty] | * Estimate
| United States PV inverter market share by shipments (MWac) |  |  |  | US MLPE Market Share by shipments (MWac) |  |  |  | US Single-Phase String Market Share by shipments (MWac) |  |  |  | US Three-Phase String Market Share by shipments (MWac) |  |  |  | US Central inverter market share by shipments (MWac) |  |  |  | US Storage Hybrid Market Share by shipments (MWac)
| Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company |  | Market Share
| 1 | Power Electronics | 0.2594 |  | 1 | SolarEdge Technologies | 0.5559 |  | 1 | SolarEdge Technologies | 0.7407 |  | 1 | Chint Power Systems | 0.2668 |  | 1 | Power Electronics | 0.3447 |  | 1 | SolarEdge Technologies |  | 0.9477
| 2 | TMEIC | 0.2009 |  | 2 | Enphase | 0.3787 |  | 2 | Delta Energy Systems* | 0.0791 |  | 2 | Sungrow* | 0.1653 |  | 2 | TMEIC | 0.267 |  | 2 | Growatt |  | 0.0381
| 3 | Sungrow* | 0.1347 |  | 3 | Tigo | 0.046 |  | 3 | SMA | 0.0523 |  | 3 | SolarEdge Technologies | 0.1639 |  | 3 | Sungrow | 0.1467 |  | 3 | GoodWe |  | 0.0124
| 4 | SMA* | 0.1231 |  | 4 | APsystems | 0.0136 |  | 4 | Sungrow* | 0.0508 |  | 4 | SMA | 0.1441 |  | 4 | SMA | 0.1348
| 5 | SolarEdge Technologies | 0.0728 |  |  | All Others | 0.0057 |  | 5 | Fronius | 0.0422 |  | 5 | Yaskawa-Solectria Solar | 0.0768 |  | 5 | General Electric | 0.0565
| 6 | Enphase Energy | 0.0496 | [5 empty] | 6 | Fimer | 0.0248 |  | 6 | Fronius* | 0.0522 |  | 6 | Fimer | 0.0295
| 7 | General Electric | 0.0425 | [6 empty] | All Others | 0.0101 |  | 7 | Delta Energy Systems* | 0.0491 |  | 7 | Ingeteam | 0.0205
| 8 | Chint Power Systems | 0.034 | [9 empty] | 8 | Ginlong Solis | 0.028
| 9 | Fimer | 0.0268 | [9 empty] | 9 | Fimer | 0.0235
| 10 | Ingeteam | 0.0154 | [9 empty] | 10 | Kaco New Energy | 0.0226
|  | All Others | 0.0409 | [10 empty] | All Others | 0.0077
| 2020 PV inverter shipments (MWac) |  | 30854.86 |  | 2020 PV inverter shipments (MWac) |  | 4039.47 |  | 2020 PV inverter shipments (MWac) |  | 1912.89 |  | 2020 PV inverter shipments (MWac) |  | 3935.58 |  | 2020 PV inverter shipments (MWac) |  | 23221.3 |  | 2020 PV inverter shipments (MWac) |  |  | 194.08
| US market shares by product type shipments full-year 2019 | [7 empty] | * Estimate
| United States PV inverter market share by shipments (MWac) |  |  |  | US MLPE Market Share by shipments (MWac) |  |  |  | US Single-Phase String Market Share by shipments (MWac) |  |  |  | US Three-Phase String Market Share by shipments (MWac) |  |  |  | US Central inverter market share by shipments (MWac) |  |  |  | US Storage Hybrid Market Share by shipments (MWac)
| Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company |  | Market Share
| 1 | Power Electronics | 0.2446 |  | 1 | SolarEdge Technologies | 0.5826 |  | 1 | SolarEdge Technologies | 0.7971 |  | 1 | Chint Power Systems | 0.2956 |  | 1 | Power Electronics | 0.3992 |  | 1 | SolarEdge Technologies |  | 0.5001
| 2 | SMA* | 0.1246 |  | 2 | Enphase | 0.3698 |  | 2 | SMA* | 0.0701 |  | 2 | Sungrow* | 0.1822 |  | 2 | TMEIC | 0.1673 |  | 2 | Ginlong Solis* |  | 0.2581
| 3 | Sungrow* | 0.121 |  | 3 | Tigo | 0.0245 |  | 3 | Delta* | 0.0615 |  | 3 | SMA* | 0.1671 |  | 3 | Sungrow* | 0.145 |  | 3 | Tabuchi* |  | 0.0806
| 4 | SolarEdge Technologies | 0.1205 |  | 4 | APsystems | 0.017 |  | 4 | Fronius* | 0.0328 |  | 4 | SolarEdge Technologies | 0.107 |  | 4 | SMA* | 0.141 |  |  | All Others |  | 0.1612
| 5 | TMEIC | 0.1025 |  |  | All Others | 0.0061 |  | 5 | Ginlong Solis* | 0.0258 |  | 5 | Yaskawa Solectria | 0.0903 |  | 5 | Fimer | 0.0917
| 6 | Enphase | 0.0765 | [6 empty] | All Others | 0.012703 |  | 6 | Fronius* | 0.0441 |  | 6 | KSTAR* | 0.0193
| 7 | Fimer | 0.059 | [9 empty] | 7 | Delta* | 0.0414 |  | 7 | General Electric | 0.0186
| 8 | Chint Power Systems | 0.0522 | [9 empty] | 8 | Schneider* | 0.0202 |  |  | All Others | 0.017987
| 9 | Yaskawa Solectria | 0.018 | [9 empty] | 9 | Huawei | 0.0189
|  | All Others | 0.0811 | [10 empty] | All Others | 0.033093
| 2019 PV inverter shipments (MWac) |  | 18470.21 |  | 2019 PV inverter shipments (MWac) |  | 3821.49 |  | 2019 PV inverter shipments (MWac) |  | 2277.16 |  | 2019 PV inverter shipments (MWac) |  | 3260.96 |  | 2019 PV inverter shipments (MWac) |  | 11319.04 |  | 2019 PV inverter shipments (MWac) |  |  | 124.04
| US market shares by product type shipments full-year 2018 |  |  |  | *Estimate
| United States PV inverter market share by shipments (MWac) |  |  |  | US MLPE Market Share by shipments (MWac) |  |  |  | US Single-Phase String Market Share by shipments (MWac) |  |  |  | US Three-Phase String Market Share by shipments (MWac) |  |  |  | US Central inverter market share by shipments (MWac)
| Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share
| 1 | Power Electronics | 0.3123 |  | 1 | SolarEdge Technologies | 0.6956 |  | 1 | SolarEdge Technologies | 0.7179 |  | 1 | Chint Power Systems | 0.2641 |  | 1 | Power Electronics | 0.6114
| 2 | SolarEdge Technologies | 0.1592 |  | 2 | Enphase Energy | 0.1862 |  | 2 | Ginlong Solis | 0.1073 |  | 2 | SMA* | 0.1852 |  | 2 | SMA* | 0.1825
| 3 | SMA* | 0.1515 |  | 3 | Sunpower | 0.0805 |  | 3 | Delta Energy Systems* | 0.0639 |  | 3 | Huawei | 0.161 |  | 3 | TMEIC | 0.1033
| 4 | Chint Power Systems | 0.064 |  | 4 | APSystems | 0.0151 |  | 4 | SMA* | 0.0533 |  | 4 | SolarEdge Technologies | 0.1378 |  | 4 | Sungrow* | 0.0372
| 5 | TMEIC | 0.0527 |  |  | All Others | 0.0226 |  | 5 | Fronius | 0.0392 |  | 5 | Yaskawa-Solectria Solar | 0.1026 |  | 5 | Schneider Electric* | 0.033
| 6 | Enphase Energy | 0.0426 | [6 empty] | All Others | 0.0183 |  | 6 | Schneider Electric* | 0.0623 |  |  | All Others | 0.0327
| 7 | Huawei | 0.0396 | [9 empty] | 7 | Sungrow* | 0.0481
| 8 | Schneider Electric* | 0.0354 | [9 empty] | 8 | Fronius | 0.0189
| 9 | Sungrow* | 0.0306 | [10 empty] | All Others | 0.02
| 10 | Yaskawa-Solectria Solar | 0.0296
| 11 | Sunpower | 0.0184
| 12 | Ginlong Solis | 0.0174
|  | All Others | 0.0465
| 2018 shipments (MWac) |  | 11583.9526 |  | 2018 shipments (MWac) |  | 2651.4249 |  | 2018 shipments (MWac) |  | 1876.7812 |  | 2018 shipments (MWac) |  | 2807.2974 |  | 2018 shipments (MWac) |  | 5917.595
| US market shares by product type shipments 2017 | [8 empty] | *Estimate
| United States PV inverter market share by shipments (MWac) |  |  |  | US MLPE Market Share by shipments (MWac) |  |  |  | US Single-Phase String Market Share by shipments (MWac) |  |  |  | US Three-Phase String Market Share by shipments (MWac) |  |  |  | US Central inverter market share by shipments (MWac)
| Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share
| 1 | SMA* | 0.19 |  | 1 | SolarEdge Technologies | 0.62 |  | 1 | SolarEdge Technologies | 0.63 |  | 1 | SMA* | 0.22 |  | 1 | Power Electronics | 0.35
| 2 | Power Electronics | 0.18 |  | 2 | Enphase Energy | 0.25 |  | 2 | Delta* | 0.11 |  | 2 | Huawei | 0.18 |  | 2 | SMA* | 0.24
| 3 | SolarEdge Technologies | 0.13 |  | 3 | SunPower | 0.09 |  | 3 | SMA* | 0.09 |  | 3 | Chint Power Systems | 0.16 |  | 3 | Schneider Electric* | 0.09
| 4 | Schneider Electric* | 0.06 |  |  | All Others | 0.03 |  | 4 | ABB* | 0.07 |  | 4 | Yaskawa-Solectria Solar | 0.12 |  | 4 | KACO New Energy* | 0.09
| 5 | Enphase Energy | 0.05 | [5 empty] | 5 | Fronius | 0.03 |  | 5 | SolarEdge Technologies | 0.1 |  | 5 | TMEIC | 0.08
| 6 | KACO New Energy* | 0.05 | [5 empty] | 6 | Ginlong-Solis | 0.03 |  | 6 | Ginlong-Solis | 0.05 |  | 6 | General Electric* | 0.05
| 7 | Huawei | 0.04 | [6 empty] | All Others | 0.04 |  | 7 | Sungrow* | 0.04 |  | 7 | Sungrow* | 0.03
| 8 | Yaskawa-Solectria Solar | 0.04 | [9 empty] | 8 | Fronius | 0.04 |  | 8 | Yaskawa-Solectria Solar | 0.02
| 9 | TMEIC | 0.04 | [9 empty] | 9 | ABB* | 0.02 |  |  | All Others | 0.05
| 10 | Chint Power Systems | 0.04 | [10 empty] | All Others | 0.06
| 11 | Ginlong-Solis | 0.03
| 12 | Sungrow* | 0.03
| 13 | General Electric* | 0.02
| 14 | SunPower | 0.02
| 15 | Delta* | 0.02
| 16 | ABB* | 0.02
|  | All Others | 0.04
| 2017 shipments (MWac) |  | 9600 |  | 2017 shipments (MWac) |  | 2064 |  | 2017 shipments (MWac) |  | 1664 |  | 2017 shipments (MWac) |  | 2283 |  | 2017 shipments (MWac) |  | 4851
| US market shares by product type shipments 2016 |  |  |  |  | *Estimate
| United States PV inverter market share by shipments (MWac) |  |  |  | US MLPE Market Share by shipments (MWac) |  |  |  | US Single-Phase String Market Share by shipments (MWac) |  |  |  | US Three-Phase String Market Share by shipments (MWac) |  |  |  | US Central inverter market share by shipments (MWac)
| Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share
| 1 | SMA* | 0.26 |  | 1 | SolarEdge Technologies | 0.57 |  | 1 | SolarEdge Technologies | 0.48 |  | 1 | SMA* | 0.32 |  | 1 | SMA* | 0.28
| 2 | Power Electronics | 0.14 |  | 2 | Enphase Energy | 0.32 |  | 2 | ABB* | 0.23 |  | 2 | Yaskawa-Solectria Solar | 0.17 |  | 2 | Power Electronics | 0.2
| 3 | TMEIC | 0.12 |  | 3 | SunPower | 0.06 |  | 3 | SMA* | 0.12 |  | 3 | SolarEdge Technologies | 0.1 |  | 3 | TMEIC | 0.19
| 4 | General Electric | 0.11 |  | 4 | APsystems | 0.02 |  | 4 | Fronius | 0.09 |  | 4 | Huawei | 0.09 |  | 4 | General Electric | 0.17
| 5 | SolarEdge Technologies | 0.08 |  | 5 | Tigo Energy | 0.02 |  | 5 | Ginlong-Solis | 0.03 |  | 5 | Chint Power Systems | 0.08 |  | 5 | KACO New Energy* | 0.06
| 6 | KACO New Energy* | 0.04 |  |  | All Others | 0.01 |  |  | All Others | 0.05 |  | 6 | Fronius | 0.06 |  | 6 | Schneider Electric* | 0.03
| 7 | Enphase Energy | 0.04 | [9 empty] | 7 | Sungrow* | 0.06 |  | 7 | Yaskawa-Solectria Solar | 0.02
| 8 | Yaskawa-Solectria Solar | 0.04 | [9 empty] | 8 | Ginlong-Solis | 0.02 |  |  | All Others | 0.04
| 9 | ABB | 0.04 | [10 empty] | All Others | 0.1
| 10 | Schneider Electric* | 0.03
| 11 | Fronius | 0.02
|  | All Others | 0.08
| 2016 shipments (MWac) |  | 13817 |  | 2016 shipments (MWac) |  | 1923 |  | 2016 shipments (MWac) |  | 1829 |  | 2016 shipments (MWac) |  | 2025 |  | 2016 shipments (MWac) |  | 9194
| US market shares by product type shipments 2015 |  |  |  |  | *Estimate
| United States PV inverter market share by shipments (MWac) |  |  |  | US MLPE Market Share by shipments (MWac) |  |  |  | US Single-Phase String Market Share by shipments (MWac) |  |  |  | US Three-Phase String Market Share by shipments (MWac) |  |  |  | US Central inverter market share by shipments (MWac)
| Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share |  | Ranking | Company | Market Share
| 1 | SMA* | 0.28 |  | 1 | SolarEdge Technologies | 0.57 |  | 1 | SolarEdge Technologies | 0.38 |  | 1 | Yaskawa-Solectria Solar | 0.36 |  | 1 | SMA* | 0.32
| 2 | TMEIC | 0.14 |  | 2 | Enphase Energy | 0.39 |  | 2 | ABB | 0.26 |  | 2 | SMA* | 0.28 |  | 2 | TMEIC | 0.22
| 3 | General Electric | 0.12 |  | 3 | APsystems | 0.02 |  | 3 | SMA* | 0.2 |  | 3 | Chint Power Systems | 0.12 |  | 3 | Power Electronics | 0.1
| 4 | ABB | 0.09 |  | 4 | Tigo Energy* | 0.01 |  | 4 | Fronius | 0.13 |  | 4 | Fronius | 0.09 |  | 4 | Schneider Electric* | 0.1
| 5 | SolarEdge Technologies | 0.09 |  |  | All Others | 0.02 |  | 5 | Ginlong Solis | 0.02 |  | 5 | SolarEdge Technologies | 0.07 |  | 5 | General Electric | 0.09
| 6 | Power Electronics | 0.06 | [5 empty] | 6 | Yaskawa-Solectria Solar | 0.01 |  | 6 | ABB | 0.04 |  | 6 | ABB | 0.04
| 7 | Enphase Energy | 0.06 | [6 empty] | All Others | 0.02 |  |  | All Others | 0.05 |  | 7 | Yaskawa-Solectria Solar | 0.03
| 8 | Yaskawa-Solectria Solar | 0.05 | [14 empty] | All Others | 0.08
| 9 | Schneider Electric* | 0.05
| 10 | Fronius | 0.04
|  | All Others | 0.03
| 2015 shipments (MWac) |  | 9904 |  | 2015 shipments (MWac) |  | 1516 |  | 2015 shipments (MWac) |  | 2120 |  | 2015 shipments (MWac) |  | 1105 |  | 2015 shipments (MWac) |  | 6190